VARIATION TO LICENCE AREA PLAN

Emerald Radio

Australian Broadcasting Authority
Canberra
June 2004

© Commonwealth of Australia June 2004

This work is copyright. Apart from fair dealings for the purpose of private study, research, criticism or review, as permitted by the Copyright Act 1968, no part may be reproduced or transmitted, in any form or by any means or process, without the written permission of the publishers.

Published by the Australian Broadcasting Authority
PO Box 34 
Belconnen ACT 2616

# VARIATION TO THE LICENCE AREA PLAN

EMERALD, QLD – RADIO SERVICES

The Australian Broadcasting Authority hereby varies the licence area plan (LAP) for radio services in the Emerald area of Queensland, determined on 5 March 1998, under subsection 26(2) of the Broadcasting Services Act 1992. The Emerald LAP has been subsequently varied since 1998.

The LAP variation comprises a variation of the licence areas of the community radio broadcasting services designated by the service licence numbers SL10206 and SL1150804, the addition of technical specifications of services and the variation of technical specifications of services as set out below:

| Category of Service | Service Licence No: | Technical Specification No: | Attachment No: | General Area Served by Transmitter | Status |
| --- | --- | --- | --- | --- | --- |
| Commercial | SL4176 | TS10007818 | 1.2 | Blair Athol | Vary |
| Commercial | SL4176 | TS10007809 | 1.3 | Clermont | Vary |
| Commercial | SL4176 | TS10007724 | 1.6.1 | Moranbah | Vary |
| Commercial | SL4176 | TS10013606 | 1.38 | Blackwater | Add |
| Commercial | SL4176 | TS10013413 | 1.39 | Middlemount | Add |
| Commercial | SL4176 | TS7521001 | 1.43 | Burton Gorge | Add |
| Commercial | SL10333 | TS10007788 | 1.7 | Blair Athol | Vary |
| Commercial | SL10333 | TS10007790 | 1.8 | Clermont | Vary |
| Commercial | SL10333 | TS10007789 | 1.9 | Dysart | Vary |
| Commercial | SL10333 | TS10005126 | 1.10 | Emerald | Vary |
| Commercial | SL10333 | TS10007723 | 1.11 | Moranbah | Vary |
| National | N/A | TS1345001 | 1.12 | Blackwater | Vary |
| National | N/A | TS1346001 | 1.13 | Capella | Vary |
| National | N/A | TS1249001 | 1.14 | Clermont | Vary |
| National | N/A | TS2156001 | 1.16 | Dysart | Vary |
| National | N/A | TS2157001 | 1.17 | Dysart | Vary |
| National | N/A | TS1330001 | 1.18 | Emerald | Vary |
| National | N/A | TS4040001 | 1.19 | Emerald | Vary |
| National | N/A | TS10007829 | 1.20 | Middlemount | Vary |
| National | N/A | TS10007830 | 1.21 | Middlemount | Vary |
| National | N/A | TS2331001 | 1.22 | Moranbah | Vary |
| National | N/A | TS5507002 | 1.23 | Moranbah | Vary |
| National | N/A | TS1347001 | 1.24 | Springsure | Vary |
| National | N/A | TS10010515 | 1.40 | Emerald | Add |
| National | N/A | TS10008689 | 1.41 | Emerald | Add |
| National | N/A | TS10013633 | 1.42 | Emerald | Add |
| Open Narrowcasting | N/A | TS5685008 | 1.25 | Blackwater | Vary |
| Open Narrowcasting | N/A | TS10007810 | 1.26 | Clermont | Vary |
| Open Narrowcasting | N/A | TS10007949 | 1.27 | Dysart | Vary |
| Open Narrowcasting | N/A | TS10007840 | 1.28 | Emerald | Vary |
| Open Narrowcasting | N/A | TS10007997 | 1.29 | Emerald | Vary |
| Open Narrowcasting | N/A | TS10007990 | 1.30 | Middlemount | Vary |
| Open Narrowcasting | N/A | TS10007989 | 1.32 | Saraji | Vary |
| Open Narrowcasting | N/A | TS10007950 | 1.33 | Tieri | Vary |
| Community | SL1150060 | TS10007585 | 2.2 | Emerald | Vary |
| Community | SL1150804 | TS10007947 | 3.2.1 | Moranbah | Vary |
| Community | SL10206 | TS10013224 | 5.2 | Woorabinda | Add |

The updated variation also comprises a change from 1996 to 2001 Census boundaries for Emerald RA2 at Attachment 2.1.1 and an extension of the Moranbah RA1 licence area as described at Attachment 3.1.1.

The variation also comprises an inclusion of the Woorabinda RA1 licence area, a change from 1996 to 2001 Census boundaries as described at Attachment 5.1.

(Varied by the Australian Broadcasting Authority on 17 June 2004)

Schedules

Each of the Schedules sets out:

- the category of each of the services that are to be available in that area (column one).

- the status of the service (column two) does not form part of the licence area plan decision and is included for reference only.

- the frequency for each transmitter (column three) does not form part of the licence area plan decision and is included for reference only.

- the service licence number which has been allocated to the service, if appropriate (column four);  N/A = Not Applicable, as the Broadcasting Services Act 1992 only requires service licences for Commercial and Community services.

- the transmitter specification number which has been allocated to each transmitter (column five),

- the identifying number of the attachment where the technical specifications for each transmitter are described (column six).  (Each set of technical specifications referred to in the Schedules is an attachment to this determination).

- the general area served by each transmitter (column seven).

Status Column

Licensed:	service is already licensed

Available:	new licence available for allocation

Proposed:	transmitter for existing broadcasting service licence

Alternative:	alternative channel proposed for licensed service

Reserved:	capacity reserved for a national or community service in accordance with Ministerial notification

Frequency Column

The frequency shown is the centre frequency of the channel.

The information in the frequency column is provided as additional information to the licence area plan, and is accurate as at the date of publication.

For ease of reference, the schedules affected by this variation to the LAP have been updated to reflect the variation to this plan.

Schedules One, Two and Three of the Emerald LAP prior to this variation are reproduced below.

SCHEDULE ONE

Licence Area Plan: Emerald - Radio – September 2002

Licence Area: Emerald RA1

| Service Category | Status | Frequency | Service Licence No | Technical Specification No | Attach No | Area Served |
| --- | --- | --- | --- | --- | --- | --- |
| Commercial | Licensed | 88.1 MHz | SL4176 | TS10007818 | 1.2 | Blair Athol |
| Commercial | Licensed | 102.1 MHz | SL4176 | TS10007809 | 1.3 | Clermont |
| Commercial | Licensed | 945 kHz | SL4176 | TS10007819 | 1.4 | Dysart |
| Commercial | Licensed | 1143 kHz | SL4176 | TS10007798 | 1.5 | Emerald |
| Commercial | Licensed | 1215 kHz | SL4176 | TS4176002 | 1.6 | Moranbah |
| Commercial | Alternative | 90.5 MHz | SL4176 | TS10007724 | 1.6.1 | Moranbah |
| Commercial | Proposed | 88.9 MHz | SL10333 | TS10007788 | 1.7 | Blair Athol |
| Commercial | Proposed | 102.9 MHz | SL10333 | TS10007790 | 1.8 | Clermont |
| Commercial | Proposed | 92.5 MHz | SL10333 | TS10007789 | 1.9 | Dysart |
| Commercial | Licensed | 94.7 MHz | SL10333 | TS10005126 | 1.10 | Emerald |
| Commercial | Proposed | 91.3 MHz | SL10333 | TS10007723 | 1.11 | Moranbah |
| National | Licensed | 94.3 MHz | N/A | TS1345001 | 1.12 | Blackwater |
| National | Licensed | 107.3 MHz | N/A | TS1346001 | 1.13 | Capella |
| National | Licensed | 104.5 MHz | N/A | TS1249001 | 1.14 | Clermont |
| National | Licensed | 107.7 MHz | N/A | TS1329001 | 1.15 | Clermont |
| National | Licensed | 93.3 MHz | N/A | TS2156001 | 1.16 | Dysart |
| National | Licensed | 91.7 MHz | N/A | TS2157001 | 1.17 | Dysart |
| National | Licensed | 93.9 MHz | N/A | TS1330001 | 1.18 | Emerald |
| National | Licensed | 1548 kHz | N/A | TS4040001 | 1.19 | Emerald |
| National | Licensed | 107.7 MHz | N/A | TS10007829 | 1.20 | Middlemount |
| National | Licensed | 106.1 MHz | N/A | TS10007830 | 1.21 | Middlemount |
| National | Licensed | 106.5 MHz | N/A | TS2331001 | 1.22 | Moranbah |
| National | Licensed | 104.9 MHz | N/A | TS5507002 | 1.23 | Moranbah |
| National | Licensed | 100.9 MHz | N/A | TS1347001 | 1.24 | Springsure |
| Open Narrowcasting | Licensed | 97.5 MHz | N/A | TS5685008 | 1.25 | Blackwater |
| Open Narrowcasting | Licensed | 106.1 MHz | N/A | TS10007810 | 1.26 | Clermont |
| Open Narrowcasting | Available | 90.9 MHz | N/A | TS10007949 | 1.27 | Dysart |
| Open Narrowcasting | Licensed | 95.5 MHz | N/A | TS10007840 | 1.28 | Emerald |
| Open Narrowcasting | Available | 92.3 MHz | N/A | TS10007997 | 1.29 | Emerald |
| Open Narrowcasting | Available | 94.1 MHz | N/A | TS10007990 | 1.30 | Middlemount |
| Open Narrowcasting | Available | 92.1 MHz | N/A | TS10007989 | 1.32 | Saraji |
| Open Narrowcasting | Available | 92.1 MHz | N/A | TS10007950 | 1.33 | Tieri |
| Open Narrowcasting | Available | 97.5 MHz | N/A | TS10012318 | 1.34 | Blair Athol |
| Open Narrowcasting | Available | 98.3 MHz | N/A | TS10012319 | 1.35 | Blair Athol |
| Open Narrowcasting | Available | 99.9 MHz | N/A | TS10012320 | 1.36 | Blair Athol |
| Open Narrowcasting | Available | 100.7 MHz | N/A | TS10012321 | 1.37 | Blair Athol |

SCHEDULE TWO

Licence Area Plan : Emerald Radio – September 2002

Licence Area : EMERALD RA2

| Service Category | Status | Channel/ Frequency | Service Licence No | Transmitter Specification No | Attach No | Area Served |
| --- | --- | --- | --- | --- | --- | --- |
| Community | Licensed | 96.3 MHz | SL1150060 | TS10007585 | 2.2 | Emerald |

SCHEDULE THREE

Licence Area Plan: Emerald Radio – September 2002

Licence Area: MORANBAH RA1

| Service Category | Status | Frequency | Service Licence No | Technical Specification No | Attach No | Area Served |
| --- | --- | --- | --- | --- | --- | --- |
| Community | Available | 96.9 MHz | SL1150804 | TS10007947 | 3.2 | Moranbah |

The updated Schedules to the LAP affected by this variation are as follows:

SCHEDULE ONE

Licence Area Plan: Emerald Radio – June 2004

Licence Area: EMERALD RA1

| Service Category | Status | Frequency | Service Licence No | Technical Specification No | Attach No | Area Served |
| --- | --- | --- | --- | --- | --- | --- |
| Commercial | Licensed | 88.1 MHz | SL4176 | TS10007818 | 1.2 | Blair Athol |
| Commercial | Licensed | 102.1 MHz | SL4176 | TS10007809 | 1.3 | Clermont |
| Commercial | Licensed | 945 kHz | SL4176 | TS10007819 | 1.4 | Dysart |
| Commercial | Licensed | 1143 kHz | SL4176 | TS10007798 | 1.5 | Emerald |
| Commercial | Licensed | 1215 kHz | SL4176 | TS4176002 | 1.6 | Moranbah |
| Commercial | Alternative | 90.5 MHz | SL4176 | TS10007724 | 1.6.1 | Moranbah |
| Commercial | Proposed | 90.3 MHz | SL4176 | TS10013606 | 1.38 | Blackwater |
| Commercial | Proposed | 104.5 MHz | SL4176 | TS10013413 | 1.39 | Middlemount |
| Commercial | Licensed | 92.1 MHz | SL4176 | TS7521001 | 1.43 | Burton Gorge |
| Commercial | Proposed | 88.9 MHz | SL10333 | TS10007788 | 1.7 | Blair Athol |
| Commercial | Proposed | 102.9 MHz | SL10333 | TS10007790 | 1.8 | Clermont |
| Commercial | Proposed | 92.5 MHz | SL10333 | TS10007789 | 1.9 | Dysart |
| Commercial | Licensed | 94.7 MHz | SL10333 | TS10005126 | 1.10 | Emerald |
| Commercial | Proposed | 91.3 MHz | SL10333 | TS10007723 | 1.11 | Moranbah |
| National | Licensed | 94.3 MHz | N/A | TS1345001 | 1.12 | Blackwater |
| National | Licensed | 107.3 MHz | N/A | TS1346001 | 1.13 | Capella |
| National | Licensed | 104.5 MHz | N/A | TS1249001 | 1.14 | Clermont |
| National | Licensed | 107.7 MHz | N/A | TS1329001 | 1.15 | Clermont |
| National | Licensed | 93.3 MHz | N/A | TS2156001 | 1.16 | Dysart |
| National | Licensed | 91.7 MHz | N/A | TS2157001 | 1.17 | Dysart |
| National | Licensed | 93.9 MHz | N/A | TS1330001 | 1.18 | Emerald |
| National | Licensed | 1548 kHz | N/A | TS4040001 | 1.19 | Emerald |
| National | Licensed | 107.7 MHz | N/A | TS10007829 | 1.20 | Middlemount |
| National | Licensed | 106.1 MHz | N/A | TS10007830 | 1.21 | Middlemount |
| National | Licensed | 106.5 MHz | N/A | TS2331001 | 1.22 | Moranbah |
| National | Licensed | 104.9 MHz | N/A | TS5507002 | 1.23 | Moranbah |
| National | Licensed | 100.9 MHz | N/A | TS1347001 | 1.24 | Springsure |
| National | Proposed | 90.7 MHz | N/A | TS10010515 | 1.40 | Emerald |
| National | Proposed | 89.1 MHz | N/A | TS10008689 | 1.41 | Emerald |
| National | Proposed | 97.1 MHz | N/A | TS10013633 | 1.42 | Emerald |
| Open Narrowcasting | Licensed | 97.5 MHz | N/A | TS5685008 | 1.25 | Blackwater |
| Open Narrowcasting | Licensed | 106.1 MHz | N/A | TS10007810 | 1.26 | Clermont |
| Open Narrowcasting | Available | 90.9 MHz | N/A | TS10007949 | 1.27 | Dysart |
| Open Narrowcasting | Licensed | 95.5 MHz | N/A | TS10007840 | 1.28 | Emerald |
| Open Narrowcasting | Licensed | 92.3 MHz | N/A | TS10007997 | 1.29 | Emerald |
| Open Narrowcasting | Available | 94.1 MHz | N/A | TS10007990 | 1.30 | Middlemount |
| Open Narrowcasting | Available | 92.1 MHz | N/A | TS10007989 | 1.32 | Saraji |
| Open Narrowcasting | Available | 92.1 MHz | N/A | TS10007950 | 1.33 | Tieri |
| Open Narrowcasting | Available | 97.5 MHz | N/A | TS10012318 | 1.34 | Blair Athol |
| Open Narrowcasting | Available | 98.3 MHz | N/A | TS10012319 | 1.35 | Blair Athol |
| Open Narrowcasting | Available | 99.9 MHz | N/A | TS10012320 | 1.36 | Blair Athol |
| Open Narrowcasting | Available | 100.7 MHz | N/A | TS10012321 | 1.37 | Blair Athol |

NOTE: All the changed technical specifications are in bold.

SCHEDULE TWO

Licence Area Plan : Emerald Radio – June 2004

Licence Area : EMERALD RA2

| Service Category | Status | Frequency | Service Licence No | Transmitter Specification No | Attach No | Area Served |
| --- | --- | --- | --- | --- | --- | --- |
| Community | Licensed | 96.3 MHz | SL1150060 | TS10007585 | 2.2 | Emerald |

SCHEDULE THREE

Licence Area Plan: Emerald Radio – June 2004

Licence Area: MORANBAH RA1

| Service Category | Status | Frequency | Service Licence No | Technical Specification No | Attach No | Area Served |
| --- | --- | --- | --- | --- | --- | --- |
| Community | Licensed | 96.9 MHz | SL1150804 | TS10013634 | 3.2.1 | Moranbah |

SCHEDULE FIVE

Licence Area Plan: Emerald Radio – June 2004

Licence Area: Woorabinda RA1

| Service Category | Status | Frequency | Service Licence No | Technical Specification No | Attach No | Area Served |
| --- | --- | --- | --- | --- | --- | --- |
| Community | Licensed | 99.7 MHz | SL10206 | TS10013224 | 5.2 | Woorabinda |

Attachment	1.2

LICENCE AREA PLAN :	Emerald Radio  June 2004

Category :	Commercial

General Area Served :	Blair Athol (QLD)

Service Licence Number :	SL4176

TECHNICAL SPECIFICATION - FM Radio

Specification Number :	TS10007818

Transmitter Site :-

Nominal location :	Mine Water Tower  BLAIR ATHOL MINE

Australian Map Grid :	Zone	Easting	Northing
Reference	55	555200	7490300

Site Tolerance :	Refer to Technical Planning Guidelines

Emission :-

Frequency Band & Mode	VHF-FM

Carrier Frequency :	88.1 MHz

Polarisation	Mixed

Maximum antenna height	20 m

Output Radiation Pattern :-

| Bearing or Sector (Clockwise direction) | Maximum ERP |
| --- | --- |
| At all angles of azimuth | 200 W |

Attachment 1.3

DRAFT LICENCE AREA PLAN:	 EMERALD – JUNE 2004

Category:	Commercial

General Area Served:	Clermont (QLD)

Service Licence Number:	SL4176

TECHNICAL SPECIFICATION - FM Radio

Specification Number:	TS10007790

Transmitter Site: -

Nominal location:	High Level Reservoir, Jeffrey St  	CLERMONT

Australian Map Grid:	Zone	Easting	Northing
Reference	55	564280	7474040

Site Tolerance:	Refer to Technical Planning Guidelines

Emission: -

Frequency Band & Mode	VHF-FM

Carrier Frequency:	102.1 MHz

Polarisation	Mixed

Maximum antenna height	33 m

Output Radiation Pattern :-

| Bearing or Sector (Clockwise direction) | Maximum ERP |
| --- | --- |
| At all angles of azimuth | 200 W |

Special Conditions :-

Any transmission in accordance with this technical specification is planned on the basis that it will be protected to a minimum median field strength level of 66 dBuV/m against interference from other broadcasting services.

Attachment	1.6.1

LICENCE AREA PLAN :	Emerald Radio  June 2004

Category :	Commercial

General Area Served :	Moranbah (QLD)

Service Licence Number :	SL4176

TECHNICAL SPECIFICATION - FM Radio

Specification Number :	TS10007724

Transmitter Site :-

Nominal location :	ABC NTL Site  CARBOROUGH RANGE

Australian Map Grid :	Zone	Easting	Northing
Reference	55	636065	7574611

Site Tolerance :	Refer to Technical Planning Guidelines

Emission :-

Frequency Band & Mode	VHF-FM

Carrier Frequency :	90.5 MHz

Polarisation	Mixed

Maximum antenna height	30 m

Output Radiation Pattern :-

| Bearing or Sector (Clockwise direction) | Maximum ERP |
| --- | --- |
| At all angles of azimuth | 5 kW |

Attachment	1.7

LICENCE AREA PLAN :	Emerald Radio  June 2004

Category :	Commercial

General Area Served :	Blair Athol (QLD)

Service Licence Number :	SL10333

TECHNICAL SPECIFICATION - FM Radio

Specification Number :	TS10007788

Transmitter Site :-

Nominal location :	Mine Water Tower  BLAIR ATHOL MINE

Australian Map Grid :	Zone	Easting	Northing
Reference	55	555200	7490300

Site Tolerance :	Refer to Technical Planning Guidelines

Emission :-

Frequency Band & Mode	VHF-FM

Carrier Frequency :	88.9 MHz

Polarisation	Mixed

Maximum antenna height	20 m

Output Radiation Pattern :-

| Bearing or Sector (Clockwise direction) | Maximum ERP |
| --- | --- |
| At all angles of azimuth | 200 W |

Attachment	1.8

LICENCE AREA PLAN :	Emerald Radio  June 2004

Category :	Commercial

General Area Served :	Clermont (QLD)

Service Licence Number :	SL10333

TECHNICAL SPECIFICATION - FM Radio

Specification Number :	TS10007790

Transmitter Site :-

Nominal location :	High Level Reservoir Jeffrey St  	CLERMONT

Australian Map Grid :	Zone	Easting	Northing
Reference	55	564280	7474040

Site Tolerance :	Refer to Technical Planning Guidelines

Emission :-

Frequency Band & Mode	VHF-FM

Carrier Frequency :	102.9 MHz

Polarisation	Mixed

Maximum antenna height	33 m

Output Radiation Pattern :-

| Bearing or Sector (Clockwise direction) | Maximum ERP |
| --- | --- |
| At all angles of azimuth | 200 W |

Special Conditions :-

Any transmission in accordance with this technical specification is planned on the basis that it will be protected to a minimum median field strength level of 66 dBuV/m and above against interference from other broadcasting services.

Attachment	1.9

LICENCE AREA PLAN :	Emerald Radio  June 2004

Category :	Commercial

General Area Served :	Dysart (QLD)

Service Licence Number :	SL10333

TECHNICAL SPECIFICATION - FM Radio

Specification Number :	TS10007789

Transmitter Site :-

Nominal location :	Broadcast Site  DENHAM RANGE

Australian Map Grid :	Zone	Easting	Northing
Reference	55	635430	7502240

Site Tolerance :	Refer to Technical Planning Guidelines

Emission :-

Frequency Band & Mode	VHF-FM

Carrier Frequency :	92.5 MHz

Polarisation	Mixed

Maximum antenna height	60 m

Output Radiation Pattern :-

| Bearing or Sector (Clockwise direction) | Maximum ERP |
| --- | --- |
| At all angles of azimuth | 160 W |

Attachment	1.10

LICENCE AREA PLAN :	Emerald Radio  June 2004

Category :	Commercial

General Area Served :	Emerald (QLD)

Service Licence Number :	SL10333

TECHNICAL SPECIFICATION - FM Radio

Specification Number :	TS10005126

Transmitter Site :-

Nominal location :	UHF TV Site  EMERALD

Australian Map Grid :	Zone	Easting	Northing
Reference	55	617350	7403180

Site Tolerance :	Refer to Technical Planning Guidelines

Emission :-

Frequency Band & Mode	VHF-FM

Carrier Frequency :	94.7 MHz

Polarisation	Mixed

Maximum antenna height	35 m

Output Radiation Pattern :-

| Bearing or Sector (Clockwise direction) | Maximum ERP |
| --- | --- |
| At all angles of azimuth | 5 kW |

Attachment	1.11

LICENCE AREA PLAN :	Emerald Radio  June 2004

Category :	Commercial

General Area Served :	Moranbah (QLD)

Service Licence Number :	SL10333

TECHNICAL SPECIFICATION - FM Radio

Specification Number :	TS10007723

Transmitter Site :-

Nominal location :	ABC NTL Site  CARBOROUGH RANGE

Australian Map Grid :	Zone	Easting	Northing
Reference	55	636065	7574611

Site Tolerance :	Refer to Technical Planning Guidelines

Emission :-

Frequency Band & Mode	VHF-FM

Carrier Frequency :	91.3 MHz

Polarisation	Mixed

Maximum antenna height	30 m

Output Radiation Pattern :-

| Bearing or Sector (Clockwise direction) | Maximum ERP |
| --- | --- |
| At all angles of azimuth | 5 kW |

Special Conditions :-

Any transmission in accordance with this technical specification is planned on the basis that it will be protected to a minimum median field strength level of 66 dBuV/m and above against interference from other broadcasting services.

Attachment	1.12

LICENCE AREA PLAN :	Emerald Radio  June 2004

Category :	National

General Area Served :	Blackwater (QLD)

Service Licence Number :	Not applicable

TECHNICAL SPECIFICATION - FM Radio

Specification Number :	TS1345001

Transmitter Site :-

Nominal location :	Telstra Site  CUTLERS HILL

Australian Map Grid :	Zone	Easting	Northing
Reference	55	707340	7391265

Site Tolerance :	Refer to Technical Planning Guidelines

Emission :-

Frequency Band & Mode	VHF-FM

Carrier Frequency :	94.3 MHz

Polarisation	Mixed

Maximum antenna height	33 m

Output Radiation Pattern :-

| Bearing or Sector (Clockwise direction) | Maximum ERP |
| --- | --- |
| At all angles of azimuth | 1 kW |

Attachment	1.13

LICENCE AREA PLAN :	Emerald Radio  June 2004

Category :	National

General Area Served :	Capella (QLD)

Service Licence Number :	Not applicable

TECHNICAL SPECIFICATION - FM Radio

Specification Number :	TS1346001

Transmitter Site :-

Nominal location :	NTA Site  CAPELLA

Australian Map Grid :	Zone	Easting	Northing
Reference	55	606400	7442820

Site Tolerance :	Refer to Technical Planning Guidelines

Emission :-

Frequency Band & Mode	VHF-FM

Carrier Frequency :	107.3 MHz

Polarisation	Mixed

Maximum antenna height	66 m

Output Radiation Pattern :-

| Bearing or Sector (Clockwise direction) | Maximum ERP |
| --- | --- |
| At all angles of azimuth | 50 W |

Attachment	1.14

LICENCE AREA PLAN :	Emerald Radio  June 2004

Category :	National

General Area Served :	Clermont (QLD)

Service Licence Number :	Not applicable

TECHNICAL SPECIFICATION - FM Radio

Specification Number :	TS1249001

Transmitter Site :-

Nominal location :	NTA Site  Macdonald Flat Rd  CLERMONT

Australian Map Grid :	Zone	Easting	Northing
Reference	55	565970	7472070

Site Tolerance :	Refer to Technical Planning Guidelines

Emission :-

Frequency Band & Mode	VHF-FM

Carrier Frequency :	104.5 MHz

Polarisation	Mixed

Maximum antenna height	70 m

Output Radiation Pattern :-

| Bearing or Sector (Clockwise direction) | Maximum ERP |
| --- | --- |
| At all angles of azimuth | 100 W |

Attachment	1.16

LICENCE AREA PLAN :	Emerald Radio  June 2004

Category :	National

General Area Served :	Dysart (QLD)

Service Licence Number :	Not applicable

TECHNICAL SPECIFICATION - FM Radio

Specification Number :	TS2156001

Transmitter Site :-

Nominal location :	Broadcast Site  DENHAM RANGE

Australian Map Grid :	Zone	Easting	Northing
Reference	55	635430	7502240

Site Tolerance :	Refer to Technical Planning Guidelines

Emission :-

Frequency Band & Mode	VHF-FM

Carrier Frequency :	93.3 MHz

Polarisation	Mixed

Maximum antenna height	70 m

Output Radiation Pattern :-

| Bearing or Sector (Clockwise direction) | Maximum ERP |
| --- | --- |
| At all angles of azimuth | 160 W |

Attachment	1.17

LICENCE AREA PLAN :	Emerald Radio  June 2004

Category :	National

General Area Served :	Dysart (QLD)

Service Licence Number :	Not applicable

TECHNICAL SPECIFICATION - FM Radio

Specification Number :	TS2157001

Transmitter Site :-

Nominal location :	Broadcast Site  DENHAM RANGE

Australian Map Grid :	Zone	Easting	Northing
Reference	55	635430	7502240

Site Tolerance :	Refer to Technical Planning Guidelines

Emission :-

Frequency Band & Mode	VHF-FM

Carrier Frequency :	91.7 MHz

Polarisation	Mixed

Maximum antenna height	70 m

Output Radiation Pattern :-

| Bearing or Sector (Clockwise direction) | Maximum ERP |
| --- | --- |
| At all angles of azimuth | 160 W |

Attachment	1.18

LICENCE AREA PLAN :	Emerald Radio  June 2004

Category :	National

General Area Served :	Emerald (QLD)

Service Licence Number :	Not applicable

TECHNICAL SPECIFICATION - FM Radio

Specification Number :	TS1330001

Transmitter Site :-

Nominal location :	UHF TV Site  EMERALD

Australian Map Grid :	Zone	Easting	Northing
Reference	55	617350	7403180

Site Tolerance :	Refer to Technical Planning Guidelines

Emission :-

Frequency Band & Mode	VHF-FM

Carrier Frequency :	93.9 MHz

Polarisation	Mixed

Maximum antenna height	86 m

Output Radiation Pattern :-

| Bearing or Sector (Clockwise direction) | Maximum ERP |
| --- | --- |
| 0°T - 225°T | 1 kW |
| 225°T - 325°T | 4.5 kW |
| 325°T - 360°T | 1 kW |

Attachment	1.19

LICENCE AREA PLAN :	Emerald Radio  June 2004

Category :	National

General Area Served :	Emerald (QLD)

Service Licence Number :	Not applicable

TECHNICAL SPECIFICATION - AM Radio

Specification Number :	TS4040001

Transmitter Site :-

Nominal location :	4QD Tower  EMERALD

Australian Map Grid :	Zone	Easting	Northing
Reference	55	617277	7404942

Site Tolerance :	Refer to Technical Planning Guidelines

Emission :-

Frequency Band & Mode	MF-AM

Carrier Frequency :	1548 kHz

Output Radiation Pattern :-

| Bearing or Sector (Clockwise direction) | Elevation | Maximum CMF |
| --- | --- | --- |
| At all angles of azimuth | 0 | 2.79 kV |

Attachment	1.20

LICENCE AREA PLAN :	Emerald Radio  June 2004

Category :	National

General Area Served :	Middlemount (QLD)

Service Licence Number :	Not applicable

TECHNICAL SPECIFICATION - FM Radio

Specification Number :	TS10007829

Transmitter Site :-

Nominal location :	Telstra Radio Terminal  MIDDLEMOUNT

Australian Map Grid :	Zone	Easting	Northing
Reference	55	672157	7475958

Site Tolerance :	Refer to Technical Planning Guidelines

Emission :-

Frequency Band & Mode	VHF-FM

Carrier Frequency :	107.7 MHz

Polarisation	Mixed

Maximum antenna height	40 m

Output Radiation Pattern :-

| Bearing or Sector (Clockwise direction) | Maximum ERP |
| --- | --- |
| At all angles of azimuth | 50 W |

Attachment	1.21

LICENCE AREA PLAN :	Emerald Radio  June 2004

Category :	National

General Area Served :	Middlemount (QLD)

Service Licence Number :	Not applicable

TECHNICAL SPECIFICATION - FM Radio

Specification Number :	TS10007830

Transmitter Site :-

Nominal location :	Telstra Radio Terminal  MIDDLEMOUNT

Australian Map Grid :	Zone	Easting	Northing
Reference	55	672157	7475958

Site Tolerance :	Refer to Technical Planning Guidelines

Emission :-

Frequency Band & Mode	VHF-FM

Carrier Frequency :	106.1 MHz

Polarisation	Mixed

Maximum antenna height	40 m

Output Radiation Pattern :-

| Bearing or Sector (Clockwise direction) | Maximum ERP |
| --- | --- |
| At all angles of azimuth | 50 W |

Attachment	1.22

LICENCE AREA PLAN :	Emerald Radio  June 2004

Category :	National

General Area Served :	Moranbah (QLD)

Service Licence Number :	Not applicable

TECHNICAL SPECIFICATION - FM Radio

Specification Number :	TS2331001

Transmitter Site :-

Nominal location :	ABC NTL Site  CARBOROUGH RANGE

Australian Map Grid :	Zone	Easting	Northing
Reference	55	636065	7574611

Site Tolerance :	Refer to Technical Planning Guidelines

Emission :-

Frequency Band & Mode	VHF-FM

Carrier Frequency :	106.5 MHz

Polarisation	Mixed

Maximum antenna height	20 m

Output Radiation Pattern :-

| Bearing or Sector (Clockwise direction) | Maximum ERP |
| --- | --- |
| At all angles of azimuth | 10 kW |

Attachment	1.23

LICENCE AREA PLAN :	Emerald Radio  June 2004

Category :	National

General Area Served :	Moranbah (QLD)

Service Licence Number :	Not applicable

TECHNICAL SPECIFICATION - FM Radio

Specification Number :	TS5507002

Transmitter Site :-

Nominal location :	ABC NTL Site  CARBOROUGH RANGE

Australian Map Grid :	Zone	Easting	Northing
Reference	55	636065	7574611

Site Tolerance :	Refer to Technical Planning Guidelines

Emission :-

Frequency Band & Mode	VHF-FM

Carrier Frequency :	104.9 MHz

Polarisation	Mixed

Maximum antenna height	20 m

Output Radiation Pattern :-

| Bearing or Sector (Clockwise direction) | Maximum ERP |
| --- | --- |
| At all angles of azimuth | 10 kW |

Attachment	1.24

LICENCE AREA PLAN :	Emerald Radio  June 2004

Category :	National

General Area Served :	Springsure (QLD)

Service Licence Number :	Not applicable

TECHNICAL SPECIFICATION - FM Radio

Specification Number :	TS1347001

Transmitter Site :-

Nominal location :	Roddas Lookout 6km East of  	SPRINGSURE

Australian Map Grid :	Zone	Easting	Northing
Reference	55	616800	7329400

Site Tolerance :	Refer to Technical Planning Guidelines

Emission :-

Frequency Band & Mode	VHF-FM

Carrier Frequency :	100.9 MHz

Polarisation	Mixed

Maximum antenna height	52 m

Output Radiation Pattern :-

| Bearing or Sector (Clockwise direction) | Maximum ERP |
| --- | --- |
| At all angles of azimuth | 1 kW |

Attachment	1.25

LICENCE AREA PLAN :	Emerald Radio  June 2004

Category :	Open Narrowcasting

General Area Served :	Blackwater (QLD)

Service Licence Number :	Not applicable

TECHNICAL SPECIFICATION - FM Radio

Specification Number :	TS5685008

Transmitter Site :-

Nominal location :	Telstra Site  CUTLERS HILL

Australian Map Grid :	Zone	Easting	Northing
Reference	55	707340	7391265

Site Tolerance :	Refer to Technical Planning Guidelines

Emission :-

Frequency Band & Mode	VHF-FM

Carrier Frequency :	97.5 MHz

Polarisation	Mixed

Maximum antenna height	30 m

Output Radiation Pattern :-

| Bearing or Sector (Clockwise direction) | Maximum ERP |
| --- | --- |
| At all angles of azimuth | 1 kW |

Special Conditions :-

The 'coverage radius' of this transmission is 30 kilometres measured from a point with the following AMG co-ordinates: Zone 55; Easting 707340; Northing 7391265. This point is the same as the nominal transmitter location.

Attachment	1.26

LICENCE AREA PLAN :	Emerald Radio  June 2004

Category :	Open Narrowcasting

General Area Served :	Clermont (QLD)

Service Licence Number :	Not applicable

TECHNICAL SPECIFICATION - FM Radio

Specification Number :	TS10007810

Transmitter Site :-

Nominal location :	NTA Site  Macdonald Flat Rd  CLERMONT

Australian Map Grid :	Zone	Easting	Northing
Reference	55	565970	7472070

Site Tolerance :	Refer to Technical Planning Guidelines

Emission :-

Frequency Band & Mode	VHF-FM

Carrier Frequency :	106.1 MHz

Polarisation	Mixed

Maximum antenna height	70 m

Output Radiation Pattern :-

| Bearing or Sector (Clockwise direction) | Maximum ERP |
| --- | --- |
| At all angles of azimuth | 80 W |

Special Conditions :-

The 'coverage radius' of this transmission is 15 kilometres measured from a point with the following AMG co-ordinates: Zone 55; Easting 565970; Northing 7472070. This point is the same as the nominal transmitter location.

Attachment	1.27

LICENCE AREA PLAN :	Emerald Radio  June 2004

Category :	Open Narrowcasting

General Area Served :	Dysart (QLD)

Service Licence Number :	Not applicable

TECHNICAL SPECIFICATION - FM Radio

Specification Number :	TS10007949

Transmitter Site :-

Nominal location :	Broadcast Site  DENHAM RANGE

Australian Map Grid :	Zone	Easting	Northing
Reference	55	635430	7502240

Site Tolerance :	Refer to Technical Planning Guidelines

Emission :-

Frequency Band & Mode	VHF-FM

Carrier Frequency :	90.9 MHz

Polarisation	Mixed

Maximum antenna height	60 m

Output Radiation Pattern :-

| Bearing or Sector (Clockwise direction) | Maximum ERP |
| --- | --- |
| At all angles of azimuth | 50 W |

Special Conditions :-

The 'coverage radius' of this transmission is 15 kilometres measured from a point with the following AMG co-ordinates: Zone 55; Easting 635430; Northing 7502240. This point is the same as the nominal transmitter location.

Attachment	1.28

LICENCE AREA PLAN :	Emerald Radio  June 2004

Category :	Open Narrowcasting

General Area Served :	Emerald (QLD)

Service Licence Number :	Not applicable

TECHNICAL SPECIFICATION - FM Radio

Specification Number :	TS10007840

Transmitter Site :-

Nominal location :	UHF TV Site  EMERALD

Australian Map Grid :	Zone	Easting	Northing
Reference	55	617350	7403180

Site Tolerance :	Refer to Technical Planning Guidelines

Emission :-

Frequency Band & Mode	VHF-FM

Carrier Frequency :	95.5 MHz

Polarisation	Mixed

Maximum antenna height	75 m

Output Radiation Pattern :-

| Bearing or Sector (Clockwise direction) | Maximum ERP |
| --- | --- |
| 0°T - 225°T | 1 kW |
| 225°T - 325°T | 4.5 kW |
| 325°T - 360°T | 1 kW |

Special Conditions :-

The 'coverage radius' of this transmission is 55 kilometres in the sector 225 degrees - 325 degrees and 30 kilometres elsewhere. The radius is measured from a point with the following AMG co-ordinates: Zone 55; Easting 617350; Northing 7403180. This point is the same as the nominal transmitter location.

Attachment	1.29

LICENCE AREA PLAN :	Emerald Radio  June 2004

Category :	Open Narrowcasting

General Area Served :	Emerald (QLD)

Service Licence Number :	Not applicable

TECHNICAL SPECIFICATION - FM Radio

Specification Number :	TS10007997

Transmitter Site :-

Nominal location :	UHF TV Site  EMERALD

Australian Map Grid :	Zone	Easting	Northing
Reference	55	617350	7403180

Site Tolerance :	Refer to Technical Planning Guidelines

Emission :-

Frequency Band & Mode	VHF-FM

Carrier Frequency :	92.3 MHz

Polarisation	Mixed

Maximum antenna height	35 m

Output Radiation Pattern :-

| Bearing or Sector (Clockwise direction) | Maximum ERP |
| --- | --- |
| At all angles of azimuth | 10 W |

Special Conditions :-

The 'coverage radius' of this transmission is 10 kilometres measured from a point with the following AMG co-ordinates: Zone 55; Easting 617350; Northing 7403180. This point is the same as the nominal transmitter location.

Attachment	1.30

LICENCE AREA PLAN :	Emerald Radio  June 2004

Category :	Open Narrowcasting

General Area Served :	Middlemount (QLD)

Service Licence Number :	Not applicable

TECHNICAL SPECIFICATION - FM Radio

Specification Number :	TS10007990

Transmitter Site :-

Nominal location :	Telstra Radio Terminal  MIDDLEMOUNT

Australian Map Grid :	Zone	Easting	Northing
Reference	55	672157	7475958

Site Tolerance :	Refer to Technical Planning Guidelines

Emission :-

Frequency Band & Mode	VHF-FM

Carrier Frequency :	94.1 MHz

Polarisation	Mixed

Maximum antenna height	40 m

Output Radiation Pattern :-

| Bearing or Sector (Clockwise direction) | Maximum ERP |
| --- | --- |
| At all angles of azimuth | 50 W |

Special Conditions :-

The 'coverage radius' of this transmission is 15 kilometres measured from a point with the following AMG co-ordinates: Zone 55; Easting 672157; Northing 7475958. This point is the same as the nominal transmitter location.

Attachment	1.32

LICENCE AREA PLAN :	Emerald Radio  June 2004

Category :	Open Narrowcasting

General Area Served :	Saraji (QLD)

Service Licence Number :	Not applicable

TECHNICAL SPECIFICATION - FM Radio

Specification Number :	TS10007989

Transmitter Site :-

Nominal location :	Broadcast Site  SARAJI

Australian Map Grid :	Zone	Easting	Northing
Reference	55	630400	7523300

Site Tolerance :	Refer to Technical Planning Guidelines

Emission :-

Frequency Band & Mode	VHF-FM

Carrier Frequency :	92.1 MHz

Polarisation	Mixed

Maximum antenna height	30 m

Output Radiation Pattern :-

| Bearing or Sector (Clockwise direction) | Maximum ERP |
| --- | --- |
| At all angles of azimuth | 50 W |

Special Conditions :-

The 'coverage radius' of this transmission is 15 kilometres measured from a point with the following AMG co-ordinates: Zone 55; Easting 630400; Northing 7523300. This point is the same as the nominal transmitter location.

Attachment	1.33

LICENCE AREA PLAN :	Emerald Radio  June 2004

Category :	Open Narrowcasting

General Area Served :	Tieri (QLD)

Service Licence Number :	Not applicable

TECHNICAL SPECIFICATION - FM Radio

Specification Number :	TS10007950

Transmitter Site :-

Nominal location :	Broadcast Site  TIERI

Australian Map Grid :	Zone	Easting	Northing
Reference	55	640033	7452128

Site Tolerance :	Refer to Technical Planning Guidelines

Emission :-

Frequency Band & Mode	VHF-FM

Carrier Frequency :	92.1 MHz

Polarisation	Mixed

Maximum antenna height	30 m

Output Radiation Pattern :-

| Bearing or Sector (Clockwise direction) | Maximum ERP |
| --- | --- |
| At all angles of azimuth | 50 W |

Special Conditions :-

The 'coverage radius' of this transmission is 15 kilometres measured from a point with the following AMG co-ordinates: Zone 55; Easting 640033; Northing 7452128. This point is the same as the nominal transmitter location.

Attachment 1.38

LICENCE AREA PLAN:	 Emerald Radio – June 2004

Category :	Commercial

General Area Served :	Blackwater (QLD)

Service Licence Number :	SL4176

TECHNICAL SPECIFICATION - FM Radio

Specification Number :	TS10013606

Transmitter Site :-

Nominal location :	Telstra Site, CUTLERS HILL

Australian Map Grid :	Zone	Easting	Northing
Reference	55	707340	7391265

Site Tolerance :	Refer to Technical Planning Guidelines

Emission :-

Frequency Band & Mode	VHF-FM

Carrier Frequency :	90.3 MHz

Polarisation	Mixed

Maximum antenna height	33 m

Output Radiation Pattern :-

| Bearing or Sector (Clockwise direction) | Maximum ERP |
| --- | --- |
| At all angles of azimuth | 1 kW |

Attachment 1.39

LICENCE AREA PLAN:	 Emerald Radio – June 2004

Category :	Commercial

General Area Served :	Middlemount (QLD)

Service Licence Number :	SL4176

TECHNICAL SPECIFICATION - FM Radio

Specification Number :	TS10013413

Transmitter Site :-

Nominal location :	Telstra Radio Terminal, MIDDLEMOUNT

Australian Map Grid :	Zone	Easting	Northing
Reference	55	672157	7475958

Site Tolerance :	Refer to Technical Planning Guidelines

Emission :-

Frequency Band & Mode	VHF-FM

Carrier Frequency :	104.5 MHz

Polarisation	Mixed

Maximum antenna height	40 m

Output Radiation Pattern :-

| Bearing or Sector (Clockwise direction) | Maximum ERP |
| --- | --- |
| At all angles of azimuth | 250 W |

Special Conditions :-

Any transmission in accordance with this technical specification is planned on the basis that it will be protected to a minimum median field strength level of 66 dBuV/m against interference from other broadcasting services.

Attachment 1.40

LICENCE AREA PLAN:	 Emerald Radio – June 2004

Category :	National

General Area Served :	Emerald (QLD)

Service Licence Number :	Not applicable

TECHNICAL SPECIFICATION - FM Radio

Specification Number :	TS10010515

Transmitter Site :-

Nominal location :	Telstra Radio Terminal  EMERALD

Australian Map Grid :	Zone	Easting	Northing
Reference	55	617445	7403303

Site Tolerance :	Refer to Technical Planning Guidelines

Emission :-

Frequency Band & Mode	VHF-FM

Carrier Frequency :	90.7 MHz

Polarisation	Mixed

Maximum antenna height	86 m

Output Radiation Pattern :-

| Bearing or Sector (Clockwise direction) | Maximum ERP |
| --- | --- |
| 0°T - 225°T | 1 kW |
| 225°T - 325°T | 4.5 kW |
| 325°T - 360°T | 1 kW |

Attachment 1.41

LICENCE AREA PLAN:	 Emerald Radio – June 2004

Category :	National

General Area Served :	Emerald (QLD)

Service Licence Number :	Not applicable

TECHNICAL SPECIFICATION - FM Radio

Specification Number :	TS10008689

Transmitter Site :-

Nominal location :	Telstra Radio Terminal  EMERALD

Australian Map Grid :	Zone	Easting	Northing
Reference	55	617445	7403303

Site Tolerance :	Refer to Technical Planning Guidelines

Emission :-

Frequency Band & Mode	VHF-FM

Carrier Frequency :	89.1 MHz

Polarisation	Mixed

Maximum antenna height	86 m

Output Radiation Pattern :-

| Bearing or Sector (Clockwise direction) | Maximum ERP |
| --- | --- |
| 0°T - 225°T | 1 kW |
| 225°T - 325°T | 4.5 kW |
| 325°T - 360°T | 1 kW |

Attachment 1.42

LICENCE AREA PLAN:	 Emerald Radio – June 2004

Category :	National

General Area Served :	Emerald (QLD)

Service Licence Number :	Not applicable

TECHNICAL SPECIFICATION - FM Radio

Specification Number :	TS10013633

Transmitter Site :-

Nominal location :	Telstra Radio Terminal, EMERALD

Australian Map Grid :	Zone	Easting	Northing
Reference	55	617445	7403303

Site Tolerance :	Refer to Technical Planning Guidelines

Emission :-

Frequency Band & Mode	VHF-FM

Carrier Frequency :	97.1 MHz

Polarisation	Mixed

Maximum antenna height	86 m

Output Radiation Pattern :-

| Bearing or Sector (Clockwise direction) | Maximum ERP |
| --- | --- |
| 0°T - 225°T | 1 kW |
| 225°T - 325°T | 4.5 kW |
| 325°T - 360°T | 1 kW |

Attachment 1.43

LICENCE AREA PLAN:	 Emerald Radio – June 2004

Category :	Commercial

General Area Served :	Burton Gorge (QLD)

Service Licence Number :	SL4176

TECHNICAL SPECIFICATION - FM Radio

Specification Number :	TS7521001

Transmitter Site :-

Nominal location :	North Goonyella Village, BURTON GORGE

Australian Map Grid :	Zone	Easting	Northing
Reference	55	616590	7608703

Site Tolerance :	Refer to Technical Planning Guidelines

Emission :-

Frequency Band & Mode	VHF-FM

Carrier Frequency :	92.1 MHz

Polarisation	Vertical

Maximum antenna height	10 m

Output Radiation Pattern :-

| Bearing or Sector (Clockwise direction) | Maximum ERP |
| --- | --- |
| At all angles of azimuth | 20 W |

Attachment 2.1.1

LICENCE AREA - EMERALD RA2 – COMUNITY RADIO

Service Licence Number: SL1150060

The licence area, in terms of areas defined by the Australian Bureau of Statistics at the Census of 5 August 2001, is:

Area Description

QLD CD 3080217

QLD CD 3080201

QLD CD 3080214

QLD CD 3080216

QLD CD 3080208

QLD CD 3080211

QLD CD 3080207

QLD CD 3080206

QLD CD 3080210

QLD CD 3080215

QLD CD 3080204

QLD CD 3080213

QLD CD 3080205

QLD CD 3080209

QLD CD 3080212

Note:

Standard terminology used by the Australian Bureau of Statistics:

(CD) 	=  	Collection District

Attachment	2.2

LICENCE AREA PLAN :	 Emerald Radio – June 2004

Category :	Community

General Area Served :	Emerald (QLD)

Service Licence Number :	SL1150060

TECHNICAL SPECIFICATION - FM Radio

Specification Number :	TS10007585

Transmitter Site :-

Nominal location :	UHF TV Site  EMERALD

Australian Map Grid :	Zone	Easting	Northing
Reference	55	617350	7403180

Site Tolerance :	Refer to Technical Planning Guidelines

Emission :-

Frequency Band & Mode	VHF-FM

Carrier Frequency :	96.3 MHz

Polarisation	Mixed

Maximum antenna height	35 m

Output Radiation Pattern :-

| Bearing or Sector (Clockwise direction) | Maximum ERP |
| --- | --- |
| At all angles of azimuth | 5 kW |

Attachment 3.1.1

LICENCE AREA - MORANBAH RA1 – COMMUNITY RADIO
Service Licence Number: SL1150804

The licence area, in terms of areas defined by the Australian Bureau of Statistics at the Census of 5 August 2001, is:

Area Description

QLD CD 3031601

QLD CD 3031607

QLD CD 3052004

QLD CD 3031605

QLD CD 3031612

QLD CD 3031609

QLD CD 3031608

QLD CD 3031610

QLD CD 3031611

QLD CD 3031606

QLD CD 3031613

QLD CD 3031604

QLD CD 3052005

QLD CD 3031504

Note:

Standard terminology used by the Australian Bureau of Statistics:

(CD) 	=  	Collection District

Attachment 3.2.1

LICENCE AREA PLAN:	 Emerald Radio – June 2004

Category :	Community

General Area Served :	Moranbah (QLD)

Service Licence Number :	SL1150804

TECHNICAL SPECIFICATION - FM Radio

Specification Number :	TS10013634

Transmitter Site :-

Nominal location :	ABC NTL Site, CARBOROUGH RANGE

Australian Map Grid :	Zone	Easting	Northing
Reference	55	636065	7574611

Site Tolerance :	Refer to Technical Planning Guidelines

Emission :-

Frequency Band & Mode	VHF-FM

Carrier Frequency :	96.9 MHz

Polarisation	Mixed

Maximum antenna height	20 m

Output Radiation Pattern :-

| Bearing or Sector (Clockwise direction) | Maximum ERP |
| --- | --- |
| At all angles of azimuth | 5 kW |

Attachment 5.1

LICENCE AREA - WOORABINDA RA1 – COMMUNITY RADIO
Service Licence Number: SL10206

The licence area, in terms of areas defined by the Australian Bureau of Statistics at the Census of 5 August 2001, is:

Area Description

QLD CD 3080509

QLD CD 3061706

QLD CD 3061704

QLD CD 3080505

QLD CD 3080512

QLD CD 3080508

QLD CD 3080511

Note:

Standard terminology used by the Australian Bureau of Statistics:

(CD) 	=  	Collection District

Attachment 5.2

LICENCE AREA PLAN:	 Emerald Radio – June 2004

Category :	Community

General Area Served :	Woorabinda (QLD)

Service Licence Number :	SL10206

TECHNICAL SPECIFICATION - FM Radio

Specification Number :	TS10013224

Transmitter Site :-

Nominal location :	Telstra Radio Terminal, WOORABINDA

Australian Map Grid :	Zone	Easting	Northing
Reference	55	754481	7327291

Site Tolerance :	Refer to Technical Planning Guidelines

Emission :-

Frequency Band & Mode	VHF-FM

Carrier Frequency :	99.7 MHz

Polarisation	Mixed

Maximum antenna height	90 m

Output Radiation Pattern :-

| Bearing or Sector (Clockwise direction) | Maximum ERP |
| --- | --- |
| At all angles of azimuth | 1 kW |