Renewable Energy (Electricity) (Zone Ratings and Zones for Solar (Photovoltaic) Systems) Instrument 2018

The Clean Energy Regulator makes the following instrument.

Signed on behalf of the Clean Energy Regulator on 1 May 2018.

| [signed] Anne T. Brown Member of the Clean Energy Regulator | [signed] David Parker Chair of the Clean Energy Regulator |
| --- | --- |

# Contents

1  Name	1

2  Commencement	1

3  Authority	1

4  Zone ratings	1

5  Zones	1

1  Name

This instrument is the Renewable Energy (Electricity) (Zone Ratings and Zones for Solar (Photovoltaic) Systems) Instrument 2018.

2  Commencement

This instrument commences on 1 July 2018.

3  Authority

This instrument is made under subregulation 20(4) of the Renewable Energy (Electricity) Regulations 2001.

4  Zone ratings

For subregulation 20(1)(b) of the Renewable Energy (Electricity) Regulations 2001, the zone rating for a solar (photovoltaic) system is the rating mentioned in the following table for the zone where the system is installed.

Note: 	For the zone where the system is installed, see section 5.

| Zone ratings for solar (photovoltaic) systems |  |  |
| --- | --- | --- |
| Item | Zone | Rating |
| 1 | 1 | 1.622 |
| 2 | 2 | 1.536 |
| 3 | 3 | 1.382 |
| 4 | 4 | 1.185 |

5  Zones

The zone where a solar (photovoltaic) system is installed is the zone mentioned in the following table for the postcode where the system is installed.

| Zones for postcodes where solar (photovoltaic) systems are installed |  |  |  |
| --- | --- | --- | --- |
| Item | Postcodes |  | Zone |
|  | From | To |  |
| 1 | 0000 | 0799 | 3 |
| 2 | 0800 | 0869 | 2 |
| 3 | 0870 | 0879 | 1 |
| 4 | 0880 | 1000 | 2 |
| 5 | 1001 | 2355 | 3 |
| 6 | 2356 | 2357 | 2 |
| 7 | 2358 | 2384 | 3 |
| 8 | 2385 | 2393 | 2 |
| 9 | 2394 | 2395 | 3 |
| 10 | 2396 | 2398 | 2 |
| 11 | 2399 | 2399 | 3 |
| 12 | 2400 | 2400 | 2 |
| 13 | 2401 | 2404 | 3 |
| 14 | 2405 | 2407 | 2 |
| 15 | 2408 | 2410 | 3 |
| 16 | 2411 | 2414 | 2 |
| 17 | 2415 | 2536 | 3 |
| 18 | 2537 | 2537 | 4 |
| 19 | 2538 | 2544 | 3 |
| 20 | 2545 | 2554 | 4 |
| 21 | 2555 | 2626 | 3 |
| 22 | 2627 | 2628 | 4 |
| 23 | 2629 | 2630 | 3 |
| 24 | 2631 | 2639 | 4 |
| 25 | 2640 | 2820 | 3 |
| 26 | 2821 | 2842 | 2 |
| 27 | 2843 | 2872 | 3 |
| 28 | 2873 | 2874 | 2 |
| 29 | 2875 | 2876 | 3 |
| 30 | 2877 | 2889 | 2 |
| 31 | 2890 | 2897 | 3 |
| 32 | 2898 | 2899 | 3 |
| 33 | 2900 | 2999 | 3 |
| 34 | 3000 | 3390 | 4 |
| 35 | 3391 | 3398 | 3 |
| 36 | 3399 | 3413 | 4 |
| 37 | 3414 | 3426 | 3 |
| 38 | 3427 | 3474 | 4 |
| 39 | 3475 | 3514 | 3 |
| 40 | 3515 | 3516 | 4 |
| 41 | 3517 | 3520 | 3 |
| 42 | 3521 | 3524 | 4 |
| 43 | 3525 | 3538 | 3 |
| 44 | 3539 | 3539 | 4 |
| 45 | 3540 | 3549 | 3 |
| 46 | 3550 | 3560 | 4 |
| 47 | 3561 | 3569 | 3 |
| 48 | 3570 | 3570 | 4 |
| 49 | 3571 | 3606 | 3 |
| 50 | 3607 | 3617 | 4 |
| 51 | 3618 | 3622 | 3 |
| 52 | 3623 | 3628 | 4 |
| 53 | 3629 | 3657 | 3 |
| 54 | 3658 | 3684 | 4 |
| 55 | 3685 | 3687 | 3 |
| 56 | 3688 | 3724 | 4 |
| 57 | 3725 | 3731 | 3 |
| 58 | 3732 | 3999 | 4 |
| 59 | 4000 | 4416 | 3 |
| 60 | 4417 | 4417 | 2 |
| 61 | 4418 | 4422 | 3 |
| 62 | 4423 | 4423 | 2 |
| 63 | 4424 | 4426 | 3 |
| 64 | 4427 | 4473 | 2 |
| 65 | 4474 | 4476 | 1 |
| 66 | 4477 | 4478 | 2 |
| 67 | 4479 | 4485 | 1 |
| 68 | 4486 | 4490 | 2 |
| 69 | 4491 | 4492 | 1 |
| 70 | 4493 | 4499 | 2 |
| 71 | 4500 | 4721 | 3 |
| 72 | 4722 | 4722 | 2 |
| 73 | 4723 | 4723 | 3 |
| 74 | 4724 | 4735 | 2 |
| 75 | 4736 | 4736 | 1 |
| 76 | 4737 | 4824 | 3 |
| 77 | 4825 | 4827 | 2 |
| 78 | 4828 | 4828 | 2 |
| 79 | 4829 | 4830 | 2 |
| 80 | 4831 | 5261 | 3 |
| 81 | 5262 | 5263 | 4 |
| 82 | 5264 | 5270 | 3 |
| 83 | 5271 | 5300 | 4 |
| 84 | 5301 | 5429 | 3 |
| 85 | 5430 | 5450 | 2 |
| 86 | 5451 | 5653 | 3 |
| 87 | 5654 | 5669 | 2 |
| 88 | 5670 | 5679 | 3 |
| 89 | 5680 | 5699 | 2 |
| 90 | 5700 | 5709 | 3 |
| 91 | 5710 | 5722 | 2 |
| 92 | 5723 | 5724 | 1 |
| 93 | 5725 | 5733 | 2 |
| 94 | 5734 | 5799 | 1 |
| 95 | 5800 | 6243 | 3 |
| 96 | 6244 | 6250 | 4 |
| 97 | 6251 | 6254 | 3 |
| 98 | 6255 | 6270 | 4 |
| 99 | 6271 | 6315 | 3 |
| 100 | 6316 | 6357 | 4 |
| 101 | 6358 | 6393 | 3 |
| 102 | 6394 | 6400 | 4 |
| 103 | 6401 | 6430 | 3 |
| 104 | 6431 | 6431 | 2 |
| 105 | 6432 | 6433 | 3 |
| 106 | 6434 | 6439 | 2 |
| 107 | 6440 | 6441 | 1 |
| 108 | 6442 | 6444 | 3 |
| 109 | 6445 | 6459 | 4 |
| 110 | 6460 | 6467 | 3 |
| 111 | 6468 | 6469 | 2 |
| 112 | 6470 | 6471 | 3 |
| 113 | 6472 | 6474 | 2 |
| 114 | 6475 | 6506 | 3 |
| 115 | 6507 | 6555 | 2 |
| 116 | 6556 | 6573 | 3 |
| 117 | 6574 | 6602 | 2 |
| 118 | 6603 | 6607 | 3 |
| 119 | 6608 | 6641 | 2 |
| 120 | 6642 | 6724 | 1 |
| 121 | 6725 | 6750 | 2 |
| 122 | 6751 | 6797 | 1 |
| 123 | 6798 | 6799 | 2 |
| 124 | 6800 | 6999 | 3 |
| 125 | 7000 | 8999 | 4 |
| 126 | 9000 | 9999 | 3 |